Exercise
1. Determine the stoichiometric air-fuel ratio (mass) for propane (C3H8).

2. Propane burns in a premixed flame at an air-fuel ratio (mass) of 18:1. Determine the equivalent ratio Ф.

3. For an equivalent ratio of Ф = 0.6, determine associated air-fuel ratios (mass) for methane, propane, and decane (C10H22).

4. In a propane-fired furnace, 3 percent (by volume) oxygen is measured in exhaust gas. Assuming “complete” combustion without dissociation (%CO = 0), determine the air-fuel ratio (mass) supplied to the engine.

5. [image: image1.png]TABLE A-6

{Continued)
Ly & B
Molecular

Substance Formula Weight Btulbm-mol  klkgmol  Btulbm-mol  kJkgmol  Btulbm:mol°R  kJ/kg-mol-K
Carbon (solid) C(s) 12.01 0 0 0 0 1.36 5.74
Carbon (gas) C(g) 12.01 +309 060 +718 400 +289 520 +672 980 37.76 157.99
Hydrogen Ha(g) 2.018 0 0 0 0 31.21 130.57
Oxygen Oy(g) 32.00 0 0 0 0 49.00 205.03
Carbon monoxide CO(g) 28.01 —47 540 —110 530 -59 010 —137 150 47.21 197.56
Carbon dioxide COs(g) 44.01 —169 300 —393 520 —169 680 —394 360 51.07 213.64
Water H,O(g) 18.02 —104 040 —241 820 —98 350 —228 590 45.11 188.72
Water H,O() 18.02 —122 970 —285 830 —102 040 —237 180 16.71 69.92
Hydrogen peroxide H,0:(g) 34.02 —58 640 -136 310 —45 430 —105 600 55.60 232.63
Ammonia NHi(g) 17.04 -19 750 —46 190 -7 140 —16 590 45.97 192.33
Methane CHy(g) 16.04 -32210 —~74 850 —-21 860 -50 790 44.49 186.16
Acetylene C,Hxg) 26.04 +97 540 +226 730 +90 000 +209 170 48.00 200.85
Ethylene C,H4(g) 28.05 +22 490 +52 280 +29 306 +68 120 52.54 219.83
Ethane C,He(g) 30.07 —36 420 —84 680 —14 150 —32 890 54.85 229.49
Propylene C;Hq(g) 42.08 +8 790 +20 410 +26 980 +62 720 63.80 266.94
Propane C;Hg(g) 44.09 —44 680 —103 850 —10 105 —23 490 64.51 269.91
n-Butane CsH () 58.12 —-54 270 -126 150 -6 760 -15710 74.11 310.12
n-Pentane CsH,(g) 72.15 —63 000 —146 440 -3 600 —8 360 83.34 348.69
n-Hexane CeHi4(8) 86.17 -71930 —167 200 -126 -293 92.83 388.40
n-Heptane C;H,6(g) 100.20 —80 800 —187 820 -3 490 -8 110 102.24 427.77
n-Octane CsHs(g) 114.22 -89 680 -208 450 +7 110 +16 530 111.55 466.73
Benzene CsHe(g) 78.11 +35 680 +82 930 +55 780 +129 660 64.34 269.20

Iidgthyl alcohol CH;0OH(g) 32.05 —86 540 —~200 670 —69 700 —162 000 57.29 239.70



Assuming “complete” combustion, write out a stoichiometric balance equation like 

for 1 mol of arbitary biomass fuel CxHyOz. Determine the number of moles of air required to burn 1 mol of fuel.

6. Using results of problem 5. Determine the stiochiometric air-fuel ratio for methanol (CH3OH). Compare your result with the stoichiometric ratio for methane (CH4). What implications does this comparison have?

7. A lignite coal has the following ultimate analysis on the dry basis:

C = 59.88
H2 = 4.21
O2 = 19.46
N2 = 1.04
S = 1.90

A = 13.51

Calculate 

· The theorectical air 

· The actual air-fuel ratio, if the excess air is 18%
8. For the lignite indicated in problem 7, estimate the dry flue gas produced in combustion. The combustible in solid refuse is assumed to be 4%.

9. Write the complete combustion equation and calculate LHV, kJ/kg of the coal, given below

Coal ultimate analysis (% by mass)

C = 80.7%
H2 = 4.5%
S = 1.8%
O2 = 2.4%
N2 = 1.1%

H2O = 3.3%
HHV = 20 MJ/kg

and find the dew point, oC. Assume Stoichiometric and total pressure = 1 atm.
10. Consider a stoichiometric mixture of methane and air. Calculate the enthalpy of the mixture at the standard-state temperature (298.15 K) on per-kmol-of fuel basis (kJ/kmolfuel), on per-kmol of mixture basis (kJ/kmolmix), and on a per-mass-of-mixture basis (kJ/kgmix).

11. Repeat problem 9 for a temperature of 500 K.

12. Repeat problem 10, but now let the equivalent ratio Ф = 0.7. How do these results compare with those of problem 8.

13. Calculate the higher heating value and lower heating value of gaseous octane at 25 oC.

14. Propane gas is burned with 50% excess air. The reactants enter the combustion chamber at 25 oC and leave at 650 oC. Calculate the heat liberated per kmol of fuel.

15. Determine the adiabatic flame temperature for constant-pressure combustion of a stoichiometric propane-air mixture assuming reactant at 298 K, no dissociation of the products.

16. Calculate the adiabatic constant-pressure flame temperature for a boiler operating with the natural gas (CH4) and the equivalent ratio of 0.8. Assume complete combustion to CO2 and H2O and neglect any dissociation. The boiler operates at 1 atm, and both the air and fuel enter at 298 K.

17. Liquid octane (C8H18) enters the combustion chamber of a gas turbine at 25 oC and air enters from the compressor at 227 oC. It is determined that all carbon in fuel burns to form CO2. What amount of excess air will be required if the temperature of the products is to be limited to 827 oC.

Given 

hfo of C8H18 (l) = -249952 kJ/kmol
hfo of CO2 = -393522 kJ/kmol 

hfo of H2O  (g) = -241817 kJ/kmol

h500-h298 for O2 = 6088 kJ/kmol 
h500-h298 for N2 = 5912 kJ/kmol

h1000-h298 for CO2 = 33405 kJ/kmol
h1000-h298 for H2O (g) = 25978 kJ/kmol

h1000-h298 for O2 = 22707 kJ/kmol
h1000-h298 for N2 = 21406 kJ/kmol
[image: image7.wmf]22222

(3.76)()3.76

2

XY

y

CHaONxCOHOaN

++¾¾®++


[image: image2.png]TABLE A-18M
THERMODYNAMIC PROPERTIES OF GASES AT LOW PRESSURES (SI UNITS)

Reference levels: Enthalpy and internal energy at 298 K; entropy at 0 K and 0.1 MPa; hand Gin ki/kg

mol; §° in kl/kg mol-K

Absolute entropies at other pressures may be calculated from

§°= 5% — R In{p/po) ki’kg mol-K

where py is the reference pressure of 0.1 MPa and 52, is the tabular value.

T, K

Water Vapor, H,0

Carbon Dioxide, CO,

h - hm u = Uy s h - hzgs U — Uz 3
0 -9 904 -7 425 0.0 -9 364 —6 885 0.0
100 —6 615 —4 939 152.390 —6 456 —4 666 179.109
200 -3 280 ~2453 175.486 —3 414 —2 447 199.975
250 -1 610 —-1210 182.940 ~1737 —1337 207.446
298 0.0 0.0 188.833 0.0 0.0 213.795
300 63 47 189.038 67 54 214,025
350 1748 1317 194.234 1987 1554 219.940
400 3452 2 605 198.783 4 008 3 161 225.334
450 5176 3914 202.843 6119 4 857 230.303
500 6 920 5 246 206.523 8314 6 636 234.924
550 8 697 6 603 209.904 10 581 8 487 239.244
600 10 498 7 988 213.037 12 916 10 406 243.309
650 12 326 9 401 215.965 15310 12 385 247.141
700 14 184 10 843 218.719 17 761 14 420 250.773
750 16 073 12 316 221.324 20 265 16 508 254.226
800 17 991 13 820 223.803 22 815 18 642 257.517
850 19942 15 354 226.166 25 409 20 821 260.660
900 21924 16 920 228.430 28 041 23 037 263.668
950 23 937 18 518 230.608 30 706 25 286 266.553
1000 25978 20 143 232.706 33 405 27 570 269.325
1050 28 057 21 806 234,731 36 138 29 887 271.986
1100 30 167 23 500 236.694 38 894 32227 274.555
1150 32 307 25 224 238.594 41 679 32118 277.023
1200 34 476 26 978 240.443 44 484 36 986 279.417
1250 36 676 28 762 242.237 47 312 39 399 281.721
1300 38 903 30 575 243.986 50 158 41 828 283.956
1350 41 163 32 417 245.688 53024 44 279 286.122
1400 43 447 34 286 247.350 55 907 46 746 288.216
1450 45 759 36 183 248.973 58 803 49 227 290.252
1500 48 095 38 103 250.560 61714 51721 292.224
1550 50 459 40 051 252.108 64 640 54 232 293.642
1600 52 844 42 020 253.622 67 580 56 856 296.010
1650 55 255 44 015 255.106 70 531 59 245 297.823
1700 57 685 46 030 256.559 73 492 61 836 299.592
1750 60 139 48 068 257.979 76 462 64 391 301.312
1800 62 609 50 122 259.371 79 442 66 955 302.993
1850 65 102 52 200 260.737 82 431 69 528 304.631
1900 67 613 54 295 262.078 85 429 72 111 306.232
1950 70 144 55 986 263.391 88 435 74 701 307.792
2000 72 689 58 540 264.681 91 450 77 300

309.320




[image: image3.png]TABLE A-18M
(Continued)

Water Vapor, H,0

Carbon Dioxide, CO;

T, K h — has i~ ls §° h - hg i - it
2050 75 252 60 686 265.947 94 471 79 906
2100 77 831 62 850 267.191 97 500 82 519
2150 80 426 65 029 268.410 100 534 85 138
2200 83 036 67 224 269.609 103 575 87 763
2250 85 658 69 430 270.788 106 620 90 392
2300 88 295 71 651 271.948 109 671 93 027
2350 90 942 73 883 273.087 12 727 95 667
2400 93 604 76 128 274.207 115 788 98 312
2450 96 279 78 386 275.310 118 855 100 964
2500 98 964 80 657 276.396 121 926 103 619
2550 101 661 82 939 277.463 125 004 106 281
2600 104 370 85 231 278.517 128 085 108 947
2650 107 087 87 533 279.550 131 169 111 615
2700 109 813 89 844 280.571 134 256 114 287
2750 112 549 92 163 281.573 137 349 116 964
2800 115 294 94 492 282.563 140 444 119 643
2850 118 048 96 831 283.538 143 544 122 327
2900 120 813 99 180 284.500 146 645 125 013
2950 123 582 101 534 285.447 149 753 127 704
3000 126 361 103 896 286.383 152 862 130 398
3050 129 147 106 267 287.303 155 977 133 097
3100 131 942 108 647 288.211 159 092 135 796
3150 134 744 111 033 289.108 162 212 138 500
3200 137 553 113 426 289.994 165 331 141 204
3250 140 368 115 825 290.865 168 458 143 916
3300 143 197 118 224 291.715 171 588 146 628

310.810
312.269
313.698
315.098
316.465
317.805
319.120
320.411
321.675
322.918
324.135
325.332
326.505
327.658
328.793
329.909
331.005
332.085
333.146
334.193
335.223
336.235
337.233
338.218
339.178
340.123




[image: image4.png]T,K

100
200
250
298
300
350
400
450
500
550
600
650

750
800
850

Nitrogen, N, Oxygen, O,
b — by i — Uy 5° ke — hoss G —
-8 669 -6 190 0.0 —8 682 -6 203
-5770 -4 115 159.813 -5778 —-4 124
—2 858 -2 040 179.988 —2 866 -2 045
—1 403 -1 002 186.479 —1 407 -1 006
0.0 0.0 191.611 0.0 0.0
54 39 191.791 54 39
1511 1 080 196.282 1531 1100
2971 2124 200.180 3029 2 181
4 436 3173 203.632 4 546 3284
5912 4233 206.739 6 088 4411
7 395 5302 209.570 7 656 5 562
8 891 6 384 212.175 9 247 6 737
10 406 7 481 214.598 10 862 7 937
11 937 8 594 216.865 12 502 9 161
13 480 9723 218.998 14 162 10 404
15 046 10 871 221.016 15 841 11 669
16 623 12 034 222.931 17 536 12 947
18 221 13 217 224.756 19 246 14 242

@y

0.0
173.306
193.486
199.994
205.142
205.322
209.874
213.874
217.451
220.698
223.685
226.455
229.041
231.272
233.758
235.924
237.973
239.936





[image: image5.png]TABLE A-18M

(Continued)
Nitrogen, N, Oxygen, O,

T, K h = hy i — il §° h ~ hyy 0 — iy §°

950 19 832 14 413 226.498 20 970 15 551 241.798
1000 21 460 15 625 228.166 22 707 16 872 243,585
1050 23 103 16 852 229.768 24 458 18 207 245.288
1100 24 757 18 090 231.308 26 217 19 550 246.928
1150 26 426 19 344 232.791 27 987 20 905 248.499
1200 28 108 20 609 234.264 29 765 22 266 250.016
1250 29 799 21 885 235.604 31 554 23 640 251.475
1300 31 501 23 171 236.940 33 351 25 021 252.886
1350 33214 24 469 238.231 35155 26 410 254.245
1400 34 936 25774 239.484 36 966 27 805 255.564
1450 36 666 27 089 240.698 38 785 29 208 256.836
1500 38 405 28 411 241.877 40 610 30 618 258.078
1550 40 150 29 741 243.022 42 441 32 033 259.274
1600 41 903 31 078 244.137 44 279 33 455 260.446
1650 43 664 32 424 245.219 46 121 34 882 261.575
1700 45 430 33775 246.275 47 970 36 314 262.685
1750 47 203 35132 247.302 49 826 37 755 263.757
1800 48 982 36 495 248.304 St 689 39 202 264.810
1850 50 764 37 861 249.281 53 559 40 657 265.832
1900 52 551 39 233 250.237 55434 42116 266.835
1950 54 349 40 610 251.167 57 315 43 581 267.807
2000 56 141 41 991 252.078 59 199 45 050 268.764
2050 57 943 43 377 252.967 61 090 46 524 269.697
2100 59 748 44 767 253.836 62 986 48 005 270.613
2150 61 557 46 161 254.687 64 891 49 494 271.508
2200 63 371 47 559 255.522 66 802 50 898 272.387
2250 65 187 48 959 256.336 68 715 52 487 273.245
2300 67 007 50 363 257.137 70 634 53 990 274.090
2350 68 827 S1 768 257.919 72 561 55 501 274,918
2400 70 651 53176 258.689 74 492 57 016 275.735
2450 72 480 54 589 259.441 76 430 58 539 276.533
2500 74 312 56 005 260.183 78 375 60 068 277.316
2550 76 145 S7 423 260.908 80 322 61 599 278.088
2600 77 973 58 843 261.622 82 274 63 136 278.848
2650 79 819 60 265 262.322 84 234 64 680 279.594
2700 81 659 61 690 263.011 86 199 66 230 280.329
2750 83 502 63 116 263.686 88 170 67 784 281.051
2800 85 345 64 544 264.350 90 144 69 343 281.764
2850 87 190 65973 265.004 92 126 70 909 282.466
2900 89 036 67 403 265.647 94 111 72 479 283.157
2950 90 887 68 838 266.279 96 103 74 055 283.837
3000 92 738 70 274 266.902 98 098 75 634 284.508
3050 94 591 71712 267.513 100 096 77 216 285.169
3100 96 446 73 151 268.116 102 102 78 806 285.822
3150 98 303 74 592 268.710 104 113 80 398 286.464
3200 100 161 76 034 269.295 106 127 82 000 287.098
3250 102 021 77 478 269.872 108 145 83 601 287.723

3300 103 883 78 922 270.433 110 174 85 202 288.333





� EMBED Equation.DSMT4  ���








[image: image6.wmf]22222

(3.76)()3.76

2

XY

y

CHaONxCOHOaN

++¾¾®++

_1248049440.unknown

